## Price Schedule
ITB26/03170: Strengthening the Air Quality Monitoring Infrastructure in the Republic of Moldova
Form H: Price Schedule
| Name of bidder: | Click or tap here to enter text. |  | Date: | Click or tap to enter a date.
| ITB reference: | ITB26/03170
Bidders shall fill in these Price Schedule Forms in accordance with the instructions indicated. The Price Schedule must include a detailed cost breakdown of all goods and related services to be provided. Separate figures must be provided for each functional grouping or category, if any. Any estimates for cost-reimbursable items, such as travel of experts and out-of-pocket expenses, should be listed separately.
Table. Prices per AQMS |  |  | Table. Prices per Deliverables
AQMS |  | Total | Deliverables |  |  |  | Breakdown of costs per deliverable
1. AQMS Edinet |  | 0 | Deliverable 1: 11 Projects Outlines developed per each Air Quality Monitoring Stations, delivered in line with Stage 1: Project outline requirements. |  |  |  | 0
2. AQMS Balti |  | 0 | Deliverable 2: Factory Acceptance Test (FAT) conducted, and FAT Report delivered in line with the requirements of Stage 2: FAT requirements. |  |  |  | 0
3. AQMS Balti |  | 0 | Deliverable 3: Twelve signed Final acceptance acts (conducted in line with Stage 5: Commissioning), including:
4. AQMS Cahul |  | 0 | Deliverable 3.1. Equipment requested by the ITB supplied and installed in line with the Project Outlines (conducted as described in Stage 3: Supply and installation of the air quality monitoring stations) |  |  |  | 0
5. AQMS Leova |  | 0 | Deliverable 3.2. 12 site acceptance tests conducted and signed (in line with Stage 4: Testing, point 1.) |  |  |  | 0
6. AQMS Ghidighici |  | 0 | Deliverable 3.3. 12 Operational tests conducted and signed (in line with Stage 4: Testing, point 2.) |  |  |  | 0
7. AQMS Chisinau Center |  | 0 | Deliverable 3.4. Performance test conducted in line with Stage 4: Testing, point 3 and Documentation delivered as per Stage 4: Testing, point 4. |  |  |  | 0
8. AQMS Chisinau Botanica |  | 0 | Deliverable 4: Training concept coordinated and accepted, and initial training session conducted (in line with Stage 4: Training, point 1&2) |  |  |  | 0
9. AQMS Chisinau Ciocana |  | 0 | Deliverable 5: Follow-up training (in line with Stage 4: Training, point 3) |  |  |  | 0
10. AQMS TBC |  | 0 | Grand total per deliverables (Should match with Total per AQMS) |  |  |  | 0
11. AQMS Chisinau Buiucani |  | 0
12. AQMS Mateuti |  | 0
ITC necessities |  | 0
Complementary devices |  | 0
Consumables and spare parts for 2 years |  | 0
Other services |  | 0
Total per AQMS: |  | 0 |  |  |  | .
I, the undersigned, certify that I am duly authorized by Click or tap here to enter text. to sign this bid and bind Click or tap here to enter text.should UNDP accept this bid:
| Name | : _____________________________________________________________
| Title | : _____________________________________________________________
| Date | : _____________________________________________________________
| Signature | : _____________________________________________________________

## 1. AQMS Edinet
1. AQMS: Location - Edinet, Type of the station - Urban Background
| Unit of measure | Quantity | Price per unit | Total per position
Equipment housing with installations
Equipment housing of length 3.0 m, width 2.5 m, height 2.5 m ±10% equiped with the following senzors: Fire alarm sensor, Indoor temperature notification sensorn, Power disconnection notification sensor, Entry door opening alarm sensor. | set | 1 |  | 0
Electrical installations and light: 4 doubled external installation grounded electrical outlets (220V/16A), 1 double external installation electrical switch (220V/16A), 2 LEDs for internal illumination and 1 LED for external illumination (220V/20Wt), electric protection, lightning protection, 50 m of cable 3x2.5 mm2, 20 m of cable 3x4 mm2, 30 m of cable 3x1.5 mm2 (length of cable may vary depending on project outline). | set | 1 |  | 0
Uninterruptible Power Supply * | piece/set |  |  | 0
Air Conditioning Unit | piece | 1 |  | 0
19” rack suitable for offered monitoring equipment | piece | 1 |  | 0
One desk with two drawers and one chair | set | 1 |  | 0
Fire extinguisher OP-5 | piece | 1 |  | 0
First aid kit | set | 1 |  | 0
20 m of fence of min.170 cm h, including 1 gate equiped with locker and a set of 5 keys (identical for all stations) and 9 posts | set | 1 |  | 0
Surveillance camera | piece | 1 |  | 0
Analyser equipment
Automatic analyzer for PM10 | piece | 1 |  | 0
Automatic analyzer for PM2.5 | piece | 1 |  | 0
Automatic analyser for ozone (O3) | piece | 1 |  | 0
Automatic analyser for nitrogen oxides (NO, NO2, NOX) | piece | 1 |  | 0
Automatic analyser for carbon monoxide (CO) | piece | 1 |  | 0
Mini meteorological station that measures wind direction, wind speed, temperature, atmospheric pressure, air humidity and solar radiation intensity) | set | 1 |  | 0
Mini-station for analyzing the ambient dose equivalent rate of gamma radiation (radioactivity level) | set | 1 |  | 0
Works&Services
Construction of the concrete platform of 22,5 m2 and min. of 20 cm h | lumpsum | 1 |  | 0
Installation works | lumpsum | 1 |  | 0
Other, if applicable |  |  |  | 0
ITC
Industrial PC | set | 1 |  | 0
Data loss notification sensor | piece | 1 |  | 0
UPS battery operation and low battery level sensor | piece | 1 |  | 0
Active watchdog sensor, restart/start | piece | 1 |  | 0
Total per AQMS |  |  |  | 0
* The UPS must allow simultaneous connection for all Analyzer equipment, computer and surveyance camera ensuring one reserve outlet for each Analyzer.

## 2. AQMS Balti
2. AQMS: Location - Balti, Type of the station - Traffic
| Unit of measure | Quantity | Price per unit | Total per position
Equipment housing with installations
Equipment housing of length 3.0 m, width 2.5 m, height 2.5 m ±10% equiped with the following senzors: Fire alarm sensor, Indoor temperature notification sensor, Power disconnection notification sensor, Entry door opening alarm sensor. | set | 1 |  | 0
Electrical installations and light: 4 doubled external installation grounded electrical outlets (220V/16A), 1 double external installation electrical switch (220V/16A), 2 LEDs for internal illumination and 1 LED for external illumination (220V/20Wt), electric protection, lightning protection, 50 m of cable 3x2.5 mm2, 20 m of cable 3x4 mm2, 30 m of cable 3x1.5 mm2 (length of cable may vary depending on project outline) | set | 1 |  | 0
Uninterruptible Power Supply * | piece/set |  |  | 0
Air Conditioning Unit | piece | 1 |  | 0
19” rack suitable for offered monitoring equipment | piece | 1 |  | 0
One desk with two drawers and one chair | set | 1 |  | 0
Fire extinguisher OP-5 | piece | 1 |  | 0
First aid kit | set | 1 |  | 0
20 m of fence of min.170 cm h, including 1 gate equiped with locker and a set of 5 keys (identical for all stations) and 9 posts | set | 1 |  | 0
Surveillance camera | piece | 1 |  | 0
Analyser equipment
Automatic analyzer for PM10 | piece | 1 |  | 0
Automatic analyzer for PM2.5 | piece | 1 |  | 0
Automatic analyser for nitrogen oxide (NO, NO2, NOx) | piece | 1 |  | 0
Automatic analyser for carbon monoxide (CO) | piece | 1 |  | 0
Mini meteorological stations that measures wind direction, wind speed, temperature, atmospheric pressure, air humidity and solar radiation intensity) | set | 1 |  | 0
Works&Services
Construction of the concrete platform of 22,5 m2 and min. of 20 cm h | lumpsum | 1 |  | 0
Installation works | lumpsum | 1 |  | 0
Other, if applicable | - |  |  | 0
ITC
Industrial PC | set | 1 |  | 0
Data loss notification sensor | piece | 1 |  | 0
UPS battery operation and low battery level sensor | piece | 1 |  | 0
Active watchdog sensor, restart/start | piece | 1 |  | 0
Total per AQMS |  |  |  | 0
* The UPS must allow simultaneous connection for all Analyzer equipment, computer and surveyance camera ensuring one reserve outlet for each Analyzer.

## 3. AQMS Balti
3. AQMS: Location - Balti, Type of the station - Urban Background
| Unit of measure | Quantity | Price per unit | Total per position
Equipment housing with installations
Equipment housing of length 3.0 m, width 2.5 m, height 2.5 m ±10% equiped with the following senzors: Fire alarm sensor, Indoor temperature notification sensor, Power disconnection notification sensor, Entry door opening alarm sensor. | set | 1 |  | 0
Electrical installations and light: 4 doubled external installation grounded electrical outlets (220V/16A), 1 double external installation electrical switch (220V/16A), 2 LEDs for internal illumination and 1 LED for external illumination (220V/20Wt), electric protection, lightning protection 50 m of cable 3x2.5 mm2, 20 m of cable 3x4 mm2, 30 m of cable 3x1.5 mm2 (length of cable may vary depending on project outline). | set | 1 |  | 0
Uninterruptible Power Supply * | piece/set |  |  | 0
Air Conditioning Unit | piece | 1 |  | 0
19” rack suitable for offered monitoring equipment | piece | 1 |  | 0
One desk with drawers and one chair | set | 1 |  | 0
Fire extinguisher OP-5 | piece | 1 |  | 0
First aid kit | set | 1 |  | 0
20 m of fence of min.170 cm h, including 1 gate equiped with locker and a set of 5 keys (identical for all stations) and 9 posts | set | 1 |  | 0
Surveillance camera | piece | 1 |  | 0
Analyser equipment
Automatic analyzer for PM10 | piece | 1 |  | 0
Automatic analyzer for PM2.5 | piece | 1 |  | 0
Automatic analyser for ozone (O3) | piece | 1 |  | 0
Automatic analyser for nitrogen oxides (NO, NO2, NOx) | piece | 1 |  | 0
Automatic low volume PM sampler (LVS) (PM10 and PM2,5) | piece | 2 |  | 0
Mini meteorological stations that measures wind direction, wind speed, temperature, atmospheric pressure, air humidity and solar radiation intensity) | set | 1 |  | 0
Works&Services
Construction of the concrete platform of 22,5 m2 and min. of 20 cm h | lumpsum | 1 |  | 0
Installation works | lumpsum | 1 |  | 0
Other, if applicable | - |  |  | 0
ITC
Industrial PC | set | 1 |  | 0
Data loss notification sensor | piece | 1 |  | 0
UPS battery operation and low battery level sensor | piece | 1 |  | 0
Active watchdog sensor, restart/start | piece | 1 |  | 0
Total per AQMS |  |  |  | 0
* The UPS must allow simultaneous connection for all Analyzer equipment, computer and surveyance camera ensuring one reserve outlet for each Analyzer.

## 4. AQMS Cahul
4. AQMS: Location - Cahul, Type of the station - Urban Background
| Unit of measure | Quantity | Price per unit | Total per position
Equipment housing with installations
Equipment housing of length 3.0 m, width 2.5 m, height 2.5 m ±10% equiped with the following senzors: Fire alarm sensor, Indoor temperature notification sensor, Power disconnection notification sensor, Entry door opening alarm sensor. | set | 1 |  | 0
Electrical installations and light: 4 doubled external installation grounded electrical outlets (220V/16A), 1 double external installation electrical switch (220V/16A), 2 LEDs for internal illumination and 1 LED for external illumination (220V/20Wt), electric protection, lightning protection 50 m of cable 3x2.5 mm2, 20 m of cable 3x4 mm2, 30 m of cable 3x1.5 mm2 (length of cable may vary depending on project outline). | set | 1 |  | 0
Uninterruptible Power Supply * | piece/set |  |  | 0
Air Conditioning Unit | piece | 1 |  | 0
19” rack suitable for offered monitoring equipment | piece | 1 |  | 0
One desk with drawers and one chair | set | 1 |  | 0
Fire extinguisher OP-5 | piece | 1 |  | 0
First aid kit | set | 1 |  | 0
20 m of fence of min.170 cm h, including 1 gate equiped with locker and a set of 5 keys (identical for all stations) and 9 posts | set | 1 |  | 0
Surveillance camera | piece | 1 |  | 0
Analyser equipment
Automatic analyzer for PM10 | piece | 1 |  | 0
Automatic analyzer for PM2.5 | piece | 1 |  | 0
Automatic analyser for ozone (O3) | piece | 1 |  | 0
Automatic analyser for nitrogen oxides (NO, NO2, NOx) | piece | 1 |  | 0
Automatic analyser for carbon monoxide (CO) | piece | 1 |  | 0
Automatic analyser for sulphur dioxide (SO2) | piece | 1 |  | 0
Mini meteorological stations that measures wind direction, wind speed, temperature, atmospheric pressure, air humidity and solar radiation intensity) | set | 1 |  | 0
Mini-station for analyzing the ambient dose equivalent rate of gamma radiation (radioactivity level) | set | 1 |  | 0
Works&Services
Construction of the concrete platform of 22,5 m2 and min. of 20 cm h | lumpsum | 1 |  | 0
Installation works | lumpsum | 1 |  | 0
Other, if applicable | - |  |  | 0
ITC
Industrial PC | set | 1 |  | 0
Data loss notification sensor | piece | 1 |  | 0
UPS battery operation and low battery level sensor | piece | 1 |  | 0
Active watchdog sensor, restart/start | piece | 1 |  | 0
Total per AQMS |  |  |  | 0
* The UPS must allow simultaneous connection for all Analyzer equipment, computer and surveyance camera ensuring one reserve outlet for each Analyzer.

## 5. AQMS Leova
5. AQMS: Location - Leova, Type of the station - Rural Background with EMEP elements
| Unit of measure | Quantity | Price per unit | Total per position
Equipment housing with installations
Equipment housing of length 6.0 m, width 2.5 m, height 2.5 m ±10% equiped with the following senzors: Fire alarm sensor, Temperature notification sensor inside the station, Power disconnection notification sensor, Entry door opening alarm sensor. | set | 1 |  | 0
Electrical installations and light: 4 doubled external installation grounded electrical outlets (220V/16A), 1 double external installation electrical switch (220V/16A), 2 LEDs for internal illumination and 1 LED for external illumination (220V/20Wt), electric protection, lightning protection, 100 m of cable 3x2.5 mm2, 40 m of cable 3x4 mm2, 60 m of cable 3x1.5 mm2 (length of cable may vary depending on project outline). | set | 1 |  | 0
Uninterruptible Power Supply * | piece/set |  |  | 0
Air Conditioning Unit | piece | 1 |  | 0
19” rack suitable for offered monitoring equipment | piece | 1 |  | 0
5 m desk/blocks of desks equiped with 3 drawers to be used for locating the analyzers and samplers and one chair | set | 1 |  | 0
Fire extinguisher OP-5 | piece | 1 |  | 0
First aid kit | set | 1 |  | 0
Surveillance camera | piece | 1 |  | 0
Analyser equipment
Automatic analyzer for PM10 | piece | 1 |  | 0
Automatic analyzer for PM2.5 | piece | 1 |  | 0
Automatic analyser for ozone (O3) | piece | 1 |  | 0
Automatic analyser for nitrogen oxide (NO, NO2, NOx) | piece | 1 |  | 0
Automatic analyser for sulphur dioxide (SO2) | piece | 1 |  | 0
Manual low volume PM sampler (LVS) (PM10 and PM2,5) | piece | 4 |  | 0
Automatic precipitation sampler (EMEP) | piece | 1 |  | 0
Automatic analyzer sampler for elemental carbon and organic carbon (thermal-optical transmitance instrument) and a gas cylinder needed for operating analyzer (2 pieces of 50 l) | set | 1 |  | 0
Automatic analyzer sampler for gaseous-phase mercury | piece | 1 |  | 0
Gas cylinder with argon extrapure 99.9999% (50 l each) | piece | 2 |  | 0
Mini meteorological stations that measures wind direction, wind speed, temperature, atmospheric pressure, air humidity and solar radiation intensity) | set | 1 |  | 0
Works&Services
Construction of the concrete platform of 36 m2 and min. of 20 cm h | lumpsum | 1 |  | 0
Installation works | lumpsum | 1 |  | 0
Other, if applicable | - |  |  | 0
ITC
Industrial PC | set | 1 |  | 0
Data loss notification sensor | piece | 1 |  | 0
UPS battery operation and low battery level sensor | piece | 1 |  | 0
Active watchdog sensor, restart/start | piece | 1 |  | 0
Total per AQMS |  |  |  | 0
* The UPS must allow simultaneous connection for all Analyzer equipment, computer and surveyance camera ensuring one reserve outlet for each Analyzer.

## 6. AQMS Ghidighici
6. AQMS: Location - Ghidighici, Type of the station - Sub-Urban Background
| Unit of measure | Quantity | Price per unit | Total per position
Equipment housing with installations
Equipment housing length 3.0 m, width 2.5 m, height 2.5 m ±10% equiped with the following senzors: Fire alarm sensor, Temperature notification sensor inside the station, Power disconnection notification sensor, Entry door opening alarm sensor. | set | 1 |  | 0
Electrical installations and light: 4 doubled external installation grounded electrical outlets (220V/16A), 1 double external installation electrical switch (220V/16A), 2 LEDs for internal illumination and 1 LED for external illumination (220V/20Wt), electric protection, lightning protection 50 m of cable 3x2.5 mm2, 20 m of cable 3x4 mm2, 30 m of cable 3x1.5 mm2 (length of cable may vary depending on project outline). | set | 1 |  | 0
Uninterruptible Power Supply * | piece/set |  |  | 0
Air Conditioning Unit | piece | 1 |  | 0
19” rack suitable for offered monitoring equipment | piece | 1 |  | 0
One desk with two drawers and one chair | set | 1 |  | 0
Fire extinguisher | piece | 1 |  | 0
First aid kit | set | 1 |  | 0
20 m of fence of min.170 cm h, including 1 gate equiped with locker and a set of 5 keys (identical for all stations) and 9 posts | set | 1 |  | 0
Surveillance camera | piece | 1 |  | 0
Analyzer equipment
Automatic analyzer for PM10 | piece | 1 |  | 0
Automatic analyzer for PM2.5 | piece | 1 |  | 0
Automatic analyser for ozone (O3) | piece | 1 |  | 0
Automatic analyser for nitrogen oxides (NO, NO2, NOx) | piece | 1 |  | 0
Mini meteorological stations that measures wind direction, wind speed, temperature, atmospheric pressure, air humidity and solar radiation intensity) | set | 1 |  | 0
Mini-station for analyzing the ambient dose equivalent rate of gamma radiation (radioactivity level) | set | 1 |  | 0
Works&Services
Construction of the concrete platform of 22,5 m2 and min. of 20 cm h | lumpsum | 1 |  | 0
Installation works | lumpsum | 1 |  | 0
Other, if applicable | - |  |  | 0
ITC
Industrial PC | set | 1 |  | 0
Data loss notification sensor | piece | 1 |  | 0
UPS battery operation and low battery level sensor | piece | 1 |  | 0
Active watchdog sensor, restart/start | piece | 1 |  | 0
Total per AQMS |  |  |  | 0
* The UPS must allow simultaneous connection for all Analyzer equipment, computer and surveyance camera ensuring one reserve outlet for each Analyzer.

## 7. AQMS Chisinau_Center
7. AQMS: Location - Chisinau/Center sector, Type of the station - Urban Background
| Unit of measure | Quantity | Price per unit | Total per position
Equipment housing with installations
Equipment housing 3.0 m, width 2.5 m, height 2.5 m ±10% equiped with the following senzors: Fire alarm sensor, Temperature notification sensor inside the station, Power disconnection notification sensor, Entry door opening alarm sensor. | set | 1 |  | 0
Electrical installations and light: 4 doubled external installation grounded electrical outlets (220V/16A), 1 double external installation electrical switch (220V/16A), 2 LEDs for internal illumination and 1 LED for external illumination (220V/20Wt), electric protection, lightning protection, 50 m of cable 3x2.5 mm2, 20 m of cable 3x4 mm2, 30 m of cable 3x1.5 mm2 (length of cable may vary depending on project outline). | set | 1 |  | 0
Uninterruptible Power Supply * | piece/set |  |  | 0
Air Conditioning Unit | piece | 1 |  | 0
19” rack suitable for offered monitoring equipment | piece | 1 |  | 0
One desk with drawers and one chair | set | 1 |  | 0
Fire extinguisher OP-5 | piece | 1 |  | 0
First aid kit | set | 1 |  | 0
20 m of fence of min.170 cm h, including 1 gate equiped with locker and a set of 5 keys (identical for all stations) and 9 posts | set | 1 |  | 0
Surveillance camera | piece | 1 |  | 0
Analyser equipment
Automatic analyzer for PM10 | piece | 1 |  | 0
Automatic analyzer for PM2.5 | piece | 1 |  | 0
Automatic analyser for ozone (O3) | piece | 1 |  | 0
Automatic analyser for nitrogen oxides (NO, NO2, NOx) | piece | 1 |  | 0
Automatic analyser for carbon monoxide (CO) | piece | 1 |  | 0
Automatic analyser for sulphur dioxide (SO2) | piece | 1 |  | 0
Automatic low volume PM sampler (LVS) (PM10 and PM2,5) | piece | 1 |  | 0
Mini meteorological stations that measures wind direction, wind speed, temperature, atmospheric pressure, air humidity and solar radiation intensity) | set | 1 |  | 0
Works&Services
Construction of the concrete platform of 22,5 m2 and min. of 20 cm h | lumpsum | 1 |  | 0
Installation works | lumpsum | 1 |  | 0
Other, if applicable | - |  |  | 0
ITC
Industrial PC | set | 1 |  | 0
Data loss notification sensor | piece | 1 |  | 0
UPS battery operation and low battery level sensor | piece | 1 |  | 0
Active watchdog sensor, restart/start | piece | 1 |  | 0
Total per AQMS |  |  |  | 0
* The UPS must allow simultaneous connection for all Analyzer equipment, computer and surveyance camera ensuring one reserve outlet for each Analyzer.

## 8. AQMS Chisinau_Botanica
8. AQMS: Location - Chisinau/Botanica sector, Type of the station - Traffic
| Unit of measure | Quantity | Price per unit | Total per position
Equipment housing with installations
Equipment housing 3.0 m, width 2.5 m, height 2.5 m ±10% equiped with the following senzors: Fire alarm sensor, Temperature notification sensor inside the station, Power disconnection notification sensor, Entry door opening alarm sensor. | set | 1 |  | 0
Electrical installations and light: 4 doubled external installation grounded electrical outlets (220V/16A), 1 double external installation electrical switch (220V/16A), 2 LEDs for internal illumination andb 1 LED for external illumination (220V/20Wt), electric protection, lightning protection 50 m of cable 3x2.5 mm2, 20 m of cable 3x4 mm2, 30 m of cable 3x1.5 mm2 (length of cable may vary depending on project outline). | set | 1 |  | 0
Uninterruptible Power Supply * | piece/set |  |  | 0
Air Conditioning Unit | piece | 1 |  | 0
19” rack suitable for offered monitoring equipment | piece | 1 |  | 0
One desk with drawers and one chair | set | 1 |  | 0
Fire extinguisher OP-5 | piece | 1 |  | 0
First aid kit | set | 1 |  | 0
20 m of fence of min.170 cm h, including 1 gate equiped with locker and a set of 5 keys (identical for all stations) and 9 posts | set | 1 |  | 0
Surveillance camera | piece | 1 |  | 0
Analyser equipment
Automatic analyzer for PM10 | piece | 1 |  | 0
Automatic analyzer for PM2.5 | piece | 1 |  | 0
Automatic analyser for nitrogen oxides (NO, NO2, NOx) | piece | 1 |  | 0
Automated online analyzer for volatile organic compounds (BTEX) – (benzene, toluene, ethylbenzene, and xylene) | piece | 1 |  | 0
Mini meteorological stations that measures wind direction, wind speed, temperature, atmospheric pressure, air humidity and solar radiation intensity) | set | 1 |  | 0
Works&Services
Construction of the concrete platform of 22,5 m2 and min. of 20 cm h | lumpsum | 1 |  | 0
Installation works | lumpsum | 1 |  | 0
Other, if applicable | - |  |  | 0
ITC
Industrial PC | set | 1 |  | 0
Data loss notification sensor | piece | 1 |  | 0
UPS battery operation and low battery level sensor | piece | 1 |  | 0
Active watchdog sensor, restart/start | piece | 1 |  | 0
Total per AQMS |  |  |  | 0
* The UPS must allow simultaneous connection for all Analyzer equipment, computer and surveyance camera ensuring one reserve outlet for each Analyzer.

## 9. AQMS Chisinau_Ciocana
9. AQMS: Location - Chisinau/Ciocana sector, Type of the station - Traffic
| Unit of measure | Quantity | Price per unit | Total per position
Equipment housing with installations
Equipment housing 3.0 m, width 2.5 m, height 2.5 m ±10% equiped with the following senzors: Fire alarm sensor, Temperature notification sensor inside the station, Power disconnection notification sensor, Entry door opening alarm sensor. | set | 1 |  | 0
Electrical installations and light: 4 doubled external installation grounded electrical outlets (220V/16A), 1 double external installation electrical switch (220V/16A), 2 LEDs for internal illumination and 1 LED for external illumination (220V/20Wt), electric protection, lightning protection 50 m of cable 3x2.5 mm2, 20 m of cable 3x4 mm2, 30 m of cable 3x1.5 mm2 (length of cable may vary depending on project outline). | set | 1 |  | 0
Uninterruptible Power Supply * | piece/set |  |  | 0
Air Conditioning Unit | piece | 1 |  | 0
19” rack suitable for offered monitoring equipment | set | 1 |  | 0
One desk with drawers and one chair | set | 1 |  | 0
Fire extinguisher OP-5 | piece | 1 |  | 0
First aid kit | set | 1 |  | 0
20 m of fence of min.170 cm h, including 1 gate equiped with locker and a set of 5 keys (identical for all stations) and 9 posts | set | 1 |  | 0
Surveillance camera | piece | 1 |  | 0
Analyser equipment
Automatic analyzer for PM10 | piece | 1 |  | 0
Automatic analyzer for PM2.5 | piece | 1 |  | 0
Automatic analyser for nitrogen oxides (NO, NO2, NOx) | piece | 1 |  | 0
Mini meteorological stations that measures wind direction, wind speed, temperature, atmospheric pressure, air humidity and solar radiation intensity) | set | 1 |  | 0
Works&Services
Construction of the concrete platform of 22,5 m2 and min. of 20 cm h | lumpsum | 1 |  | 0
Installation works | lumpsum | 1 |  | 0
Other, if applicable | - |  |  | 0
ITC
Industrial PC | set | 1 |  | 0
Data loss notification sensor | piece | 1 |  | 0
UPS battery operation and low battery level sensor | piece | 1 |  | 0
Active watchdog sensor, restart/start | piece | 1 |  | 0
Total per AQMS |  |  |  | 0
* The UPS must allow simultaneous connection for all Analyzer equipment, computer and surveyance camera ensuring one reserve outlet for each Analyzer.

## 10. AQMS TBC
10. AQMS: Location - TBC. Type of the station - Urban Background with industrial impact elements
| Unit of measure | Quantity | Price per unit | Total per position
Equipment housing with installations
Equipment housing 3.0 m, width 2.5 m, height 2.5 m ±10% equiped with the following senzors: Fire alarm sensor, Temperature notification sensor inside the station, Power disconnection notification sensor, Entry door opening alarm sensor. | set | 1 |  | 0
Electrical installations and light: 4 doubled external installation grounded electrical outlets (220V/16A), 1 double external installation electrical switch (220V/16A), 2 LEDs for internal illumination and 1 LED for external illumination (220V/20Wt), electric protection, lightning protection 50 m of cable 3x2.5 mm2, 20 m of cable 3x4 mm2, 30 m of cable 3x1.5 mm2 (length of cable may vary depending on project outline). | set | 1 |  | 0
Uninterruptible Power Supply * | piece/set |  |  | 0
Air Conditioning Unit | piece | 1 |  | 0
19” rack suitable for offered monitoring equipment | piece | 1 |  | 0
One desk with drawers and one chair | set | 1 |  | 0
Fire extinguisher OP-5 | piece | 1 |  | 0
First aid kit | set | 1 |  | 0
20 m of fence of min.170 cm h, including 1 gate equiped with locker and a set of 5 keys (identical for all stations) and 9 posts | set | 1 |  | 0
Surveillance camera | piece | 1 |  | 0
Analyser equipment
Automatic analyzer for PM10 | piece | 1 |  | 0
Automatic analyzer for PM2.5 | piece | 1 |  | 0
Automatic analyser for nitrogen oxides (NO, NO2, NOx) | piece | 1 |  | 0
Automatic analyser for sulphur dioxide (SO2) | piece | 1 |  | 0
Mini meteorological stations that measures wind direction, wind speed, temperature, atmospheric pressure, air humidity and solar radiation intensity) | set | 1 |  | 0
Works&Services
Construction of the concrete platform of 22,5 m2 and min. of 20 cm h | lumpsum | 1 |  | 0
Installation works | lumpsum | 1 |  | 0
Other, if applicable | - |  |  | 0
ITC
Industrial PC | set | 1 |  | 0
Data loss notification sensor | piece | 1 |  | 0
UPS battery operation and low battery level sensor | piece | 1 |  | 0
Active watchdog sensor, restart/start | piece | 1 |  | 0
Total per AQMS |  |  |  | 0
* The UPS must allow simultaneous connection for all Analyzer equipment, computer and surveyance camera ensuring one reserve outlet for each Analyzer.

## 11. AQMS Chisinau _Buiucani
11. AQMS: Location - Chisinau/Buiucani sector, Type of the station - Traffic/upgrading of the existing station (previously donated by GIZ)
| Unit of measure | Quantity | Price per unit | Total per position
Analyser equipment
Automatic analyzer for PM10 | piece | 1 |  | 0
Automatic analyzer for PM2.5 | piece | 1 |  | 0
Automatic analyser for nitrogen oxide (NO, NO2, NOx) | piece | 1 |  | 0
Mini meteorological stations that measures wind direction, wind speed, temperature, atmospheric pressure, air humidity and solar radiation intensity) | set | 1 |  | 0
Works&Services
Installation works | lumpsum | 1 |  | 0
Other, if applicable | - |  |  | 0
ITC
Industrial PC | set | 1 |  | 0
Data loss notification sensor | piece | 1 |  | 0
UPS battery operation and low battery level sensor | piece | 1 |  | 0
Active watchdog sensor, restart/start | piece | 1 |  | 0
Uninterruptible Power Supply * | piece/set |  |  | 0
Total per AQMS |  |  |  | 0
* The UPS must allow simultaneous connection for all Analyzer equipment, computer and surveyance camera ensuring one reserve outlet for each Analyzer.

## 12. AQMS Mateuti
12. AQMS: Location - Mateuti, Type of the station - rural background with industrial impact elements/existing station
| Unit of measure | Quantity | Price per unit | Total per position
Equipment housing with installations
Equipment housing 3.0 m, width 2.5 m, height 2.5 m ±10% equiped with the following senzors: Fire alarm sensor, Temperature notification sensor inside the station, Power disconnection notification sensor, Entry door opening alarm sensor. | set | 1 |  | 0
Electrical installations and light: 4 doubled external installation grounded electrical outlets (220V/16A), 1 double external installation electrical switch (220V/16A), 2 LEDs for internal illumination and 1 LED for external illumination (220V/20Wt), electric protection, lightning protection 50 m of cable 3x2.5 mm2, 20 m of cable 3x4 mm2, 30 m of cable 3x1.5 mm2 (length of cable may vary depending on project outline). | set | 1 |  | 0
Uninterruptible Power Supply * | piece/set |  |  | 0
Air Conditioning Unit | piece | 1 |  | 0
19” rack suitable for offered monitoring equipment | set | 1 |  | 0
Fire extinguisher OP-5 | piece | 1 |  | 0
First aid kit | set | 1 |  | 0
20 m of fence of min.170 cm h, including 1 gate equiped with locker and a set of 5 keys (identical for all stations) and 9 posts | set | 1 |  | 0
Analyser equipment
Automatic analyzer for PM10 | piece | 1 |  | 0
Automatic analyzer for PM2.5 | piece | 1 |  | 0
Automatic analyser for ozone (O3) | piece | 1 |  | 0
Automatic analyser for nitrogen oxides (NO, NO2, NOx) | piece | 1 |  | 0
Automatic analyser for sulphur dioxide (SO2) | piece | 1 |  | 0
Automatic analyser for carbon monoxide (CO) | piece | 1 |  | 0
Automated online analyzer for volatile organic compounds (BTEX) – (benzene, toluene, ethylbenzene, and xylene) | piece | 1 |  | 0
Mini meteorological stations that measures wind direction, wind speed, temperature, atmospheric pressure, air humidity and solar radiation intensity) | set | 1 |  | 0
Works&Services
Construction of the concrete platform of 22,5 m2 and min. of 20 cm h | lumpsum | 1 |  | 0
Installation works | lumpsum | 1 |  | 0
Other, if applicable | - |  |  | 0
ITC
Industrial PC | set | 1 |  | 0
Data loss notification sensor | piece | 1 |  | 0
UPS battery operation and low battery level sensor | piece | 1 |  | 0
Active watchdog sensor, restart/start | piece | 1 |  | 0
Total per AQMS |  |  |  | 0
* The UPS must allow simultaneous connection for all Analyzer equipment, computer and surveyance camera ensuring one reserve outlet for each Analyzer.

## ITC necessities
ITC necesities
| Unit of measure | Quantity | Price per unit | Total per position
Software and licences for expert users | set | 5 |  | 0
Software for server | set | 1 |  | 0
Uninterruptible power supply UPS | set | 1 |  | 0
Network hardware (VPN Router, Ethernet Switch) | set | 1 |  | 0
Data Acquisition hardware (Server) | set | 1 |  | 0
Total per ITC |  |  |  | 0

## Complementary devices
Complementary devices
| Unit of measure | Quantity | Price per unit | Total per position
Field calibrator for SO2, NO, CO | piece | 2 |  | 0
Ozone photometer | piece | 2 |  | 0
Flow meter | piece | 3 |  | 0
Zero air generator | piece | 3 |  | 0
Total per additional equipment |  |  |  | 0

## Consumables and spare parts
Consumables and spare parts for 2 years/to be proposed in line with the requirements of the maintenance manual
Consumables/Spare parts | Unit of measure | Number of pieces | Price per unit | Total per position
Particulate filter |  |  |  | 0
Fan and fan filter |  |  |  | 0
Dry Filter Unit (DFU) filter |  |  |  | 0
Pump rebuild kit (diaphgrams etc.) |  |  |  | 0
Chemicals (e.g. charcoal, purafil) for zero air scrubber, ozone scrubber and/or dryer, if necessary for offered equiment |  |  |  | 0
Ozone filter |  |  |  | 0
O-rings & sintered filters |  |  |  | 0
Magnetic valves, 3-way valves |  |  |  | 0
Converters |  |  |  | 0
Flow sensors |  |  |  | 0
Pressure sensors |  |  |  | 0
UV lamp |  |  |  | 0
In-line filters |  |  |  | 0
IR Source |  |  |  | 0
3 calibration gase cylinders with valve SO2 (1), NO (1), CO (1) of 10 l each. The concentration of the gases according to the offered equipment. |  |  |  | 0
Filter tape for PM-analyser, if applicable for offered equipment |  |  |  | 0
Active carbon, purafil, silicagel |  |  |  | 0
External spare pump for each analyzer that are used in monitorg stations |  |  |  | 0
Teflon Filter | set (of 200 pieces) | 22 |  | 0
Paper filter (cellulose filter Whatman40) | set (of 100 pieces) | 16 |  | 0
Pietridishes | sets (of 200 pieces) | 11 |  | 0
3 pack filter holder | cassettes/set | 60 |  | 0
Total per Consumables/Spare parts |  |  |  | 0

## Other services
Other services
Total per position
Transport | As aplicable; to be proposed in line with the Technical Bid.
Projects Outlines | As per Section 5: Schedule of Requirements.
FATs (Factory Accptance Testing) | As per Section 5: Schedule of Requirements.
Site acceptance Tests | As per Section 5: Schedule of Requirements.
Operational Tests | As per Section 5: Schedule of Requirements.
Performance Tests | As per Section 5: Schedule of Requirements.
Initial Training | As per Section 5: Schedule of Requirements.
Follow up Training | As per Section 5: Schedule of Requirements.
Other (please specify)
Total per Other services |  | 0